## FMEA
System	totti.to	Potential Failure Modes and Effects					FMEA Number	1
Subsystem	udoo					Prepared By	Adrian Cockcroft
Component	several webservers running					FMEA Date	12.09.2020
Design Lead	ta				Key Date					Revision Date	12.09.2020
Core Team					Page		1	of	1

				Action Results

Item / Function	Potential Failure Mode(s)	Potential Effect(s) / of Failure	Sev	Potential Cause(s)/ Mechanism(s) of Failure	Prob	Current Design Controls	Det	RPN	Recommended / Action(s)	Responsibility & Target Completion Date	Actions Taken	New Sev	New Occ	New Det	New RPN
udoo	Back-up damage	no important data to be stored	5	Break-in, Hack	1	none	10	50	periodical updates, intrusion detection
udoo	Back-up damage	no important data to be stored	5	Break-in, physical	1	Door + key	10	50	Full-disk encryption
udoo	Back-up damage	no important data to be stored	5	energy outage	3	none	10	150	UPS, mail-warning, auto-shutdown
udoo	Data loss	corrupt user data	6	admin error	5	manual testing	2	60
udoo	Data loss	corrupt user data	6	Break-in, Hack	1	none	10	60	periodical updates, intrusion detection
udoo	Data loss	corrupt user data	6	Break-in, physical	1	Door + key	10	60	Full-disk encryption
udoo	Data loss	corrupt user data	6	Crash after update	5	none	10	300
udoo	Data loss	corrupt user data	6	energy outage	3	none	10	180	UPS, mail-warning, auto-shutdown
udoo	Data loss	corrupt user data	6	Hardware obsolescence	4	none	10	240	hardware monitoring, regular check
udoo	Data loss	corrupt user data	6	internet outage	4	none	10	240
udoo	Data loss	corrupt user data	6	random crash	4	none	10	240
udoo	Data loss	corrupt user data	6	ransomware	1	Nextcloud-App	4	24
udoo	Data loss	corrupt user data	6	Virus	1	none	10	60	Anti-Virus-Software
udoo	downtime	no connections with remote servers & clients	6	admin error	5	manual testing	2	60
udoo	downtime	no connections with remote servers & clients	10	Break-in, Hack	1	none	10	100	periodical updates, intrusion detection
udoo	downtime	no connections with remote servers & clients	9	Break-in, physical	1	Door + key	10	90	Full-disk encryption
udoo	downtime	no connections with remote servers & clients	6	Crash after update	5	none	10	300
udoo	downtime	no connections with remote servers & clients	6	DDOS	1	none	10	60	fail2ban
udoo	downtime	no connections with remote servers & clients	7	energy outage	3	none	10	210	UPS, mail-warning, auto-shutdown
udoo	downtime	no connections with remote servers & clients	7	Hardware obsolescence	4	none	10	280	hardware monitoring, regular check
udoo	downtime	no connections with remote servers & clients	5	internet outage	4	none	10	200
udoo	downtime	no connections with remote servers & clients	6	random crash	4	none	10	240
udoo	downtime	no connections with remote servers & clients	10	ransomware	1	Nextcloud-App	4	40
udoo	downtime	no connections with remote servers & clients	10	Virus	1	none	10	100	Anti-Virus-Software
VPS	Full Inbox	E-mail address lost	2	Spam	4	none	10	80	periodical updates
udoo	hardware damage	major system crash	9	Break-in, physical	1	Door + key	10	90	Full-disk encryption
udoo	hardware loss	major system crash	8	energy outage	3	none	10	240	UPS, mail-warning, auto-shutdown
udoo	hardware loss	major system crash	8	Hardware obsolescence	4	none	10	320	hardware monitoring, regular check
udoo	theft of data	major system crash	10	Break-in, Hack	1	none	10	100	periodical updates, intrusion detection
udoo	theft of data	major system crash	10	Break-in, physical	1	Door + key	10	100	Full-disk encryption

## Severity
Effect	SEVERITY of Effect	Ranking
Hazardous without warning	Very high severity ranking when a potential failure mode affects safe system operation without warning	10
Hazardous with warning	Very high severity ranking when a potential failure mode affects safe system operation with warning	9
Very High	System inoperable with destructive failure without compromising safety	8
High	System inoperable with equipment damage	7
Moderate	System inoperable with minor damage	6
Low	System inoperable without damage	5
Very Low	System operable with significant degradation of performance	4
Minor	System operable with some degradation of performance	3
Very Minor	System operable with minimal interference	2
None	No effect	1

## Probability
PROBABILITY of Failure	Failure Prob	Ranking
Very High: Failure is almost inevitable	>1 in 2	10
	1 in 3	9
High: Repeated failures	1 in 8	8
	1 in 20	7
Moderate: Occasional failures	1 in 80	6
	1 in 400	5
	1 in 2,000	4
Low: Relatively few failures	1 in 15,000	3
	1 in 150,000	2
Remote: Failure is unlikely	<1 in 1,500,000	1

## Detectability
Detection	Likelihood of DETECTION by Design Control	Ranking
Absolute Uncertainty	Design control cannot detect potential cause/mechanism and subsequent failure mode	10
Very Remote	Very remote chance the design control will detect potential cause/mechanism and subsequent failure mode	9
Remote	Remote chance the design control will detect potential cause/mechanism and subsequent failure mode	8
Very Low	Very low chance the design control will detect potential cause/mechanism and subsequent failure mode	7
Low	Low chance the design control will detect potential cause/mechanism and subsequent failure mode	6
Moderate	Moderate chance the design control will detect potential cause/mechanism and subsequent failure mode	5
Moderately High	Moderately High chance the design control will detect potential cause/mechanism and subsequent failure mode	4
High	High chance the design control will detect potential cause/mechanism and subsequent failure mode	3
Very High	Very high chance the design control will detect potential cause/mechanism and subsequent failure mode	2
Almost Certain	Design control will detect potential cause/mechanism and subsequent failure mode	1